%N gpbuddy

%D Inherit gains from a nearby (buddy) antenna

%P pjt

%: calibration

%B

GPBUDDY is a MIRIAD task that copies the gain table of a selected

number of antennas into a second set of antennas in another dataset.

It is intended to be used in conjunction with UVCAL,to perform

antenna-based atmospheric phase correction  (PACS).

All non-selected antennas have the option of having their gains

interpolated from paired antennas using different methods.

GPBUDDY will take the gains corresponding to the antennas in list2

from the dataset specified by vis2, then set their amplitudes to one

and multiply the phases by a given scale factor, then unwrap them and write

them into the antenna-based phaseatm uv variable in the vis dataset for

the antennas in list1. Antennas present in vis but not listed in list1

will get a phaseatm value that is obtained from the application of

the specified method. Antennas for which the method produce no solution will

be flagged during that time interval. UVCAL options=atmcal will interpret

these phaseatm tables at phases at the LO1 frequency and correctly compute

and apply the atmospheric delays.

Example: phase correction for 3mm

gpbuddy vis=carma vis2=sza out=carma.out

list1=2,4,5,6,8,9,13,15

list2=21,23,20,18,19,22,16,17

factor=3.09

uvcal vis=carma.out out=carma.atm options=atmcal

%A vis

The input visibility file, containing the visibility data

to be copied with an additional phaseatm table.

No default.

%A out

Output file for vis, if selected. This file will contain the phaseatm

variable derived from the gains of a buddy antenna.

%A vis2

The 2nd input visibility file, containing a selfcal gain table from

which gains will be applied to antennas in the primary

dataset (the gain table of the input visibility file).

Default is to leave this blank, which will simply copy

gains internally from the primary visibility dataset.

%A show

Show the East-North layout (in meters) in tabular format.

LISTOBS will also print these out by default.

Default: false

%A list1

The list of primary antennas to receive new gains.

%A list2

The 2nd list of paired antennas to apply gains to primary

%A scale

This is usually a number larger than 1 and can normally be

computed from the ratio of the effective frequencies at which the two

gain solutions were derived.

Currently no default allowed, since we have not properly

obtained these effective frequencies. The usual numbers are 3.09 for

3mm and 7.4 for 1mm.

%A options

** not used at the moment **

%A mode

gains or phaseatm.

For gains the gains of the input file(s) are overwritten,

For phaseatm you will need to supply (an) output file(s).

DO NOT USE, since gains option do not apply freq dependant

phase corrections.

Default: phaseatm

%A nearest

Use nearest neighbor for time interpolation. If not, linear

interpolation is used.

Default: true.

Will become false, since nearest doesn't know how to flag

when nothing in the interval.

%A antpos

By default, the projected UV coordinates (in ns) are used to

compare distances, by using antpos=TRUE, regular distances are used

between the antennae, except these are used in m!!! When using

a weighting scheme such as gaussian, units are m.

Default: FALSE

%A method

Method by which antenna phases of non-paired antennas are

deduced.

Currently implemented are:

power:     inverse power law weighted average on projected distance

gaussian:  Gaussian weighted average on projected distance

tophat:    equal weights within a projected radius

parabol:   inverse projected distance square within a radius

none:      none, the phase corrections for non-buddies are 0 (not implemented)

Default: power

%A param

Parameter for the weighting function method.

For power-law: negative of the power index

For gaussian: Gaussian FWHM (in ns, or m, depending on antpos=)

For tophat: radius (in ns, or m)

For parabol: radius (in ns, or m)

If antpos=false, make sure length units are ns,

for antpos=true, units are m.

Default: 2

%A antipol

Compute antenna phases for non-paired antennas by interpolating

over paired antennas using a user-selectable weighting function

specified by wscheme and param

Default: true