%N tvclip

%D Interactive editing of a UV data set on a TV device.

%P jm

%: calibration, uv-data, tv, plotting, display

%B

TVCLIP is a MIRIAD task which allows interactive baseline

editing of a UV data set.  The user should make sure,

if the display device is capable of creating menus that

the menu program has been loaded ``before'' running this

routine (eg. xpanel for the XMTV) - see the User's Guide

or Cookbook under TV Devices for details.

When this program is run, each baseline is displayed,

one at a time, with the x-axis representing channel

number (increasing to the right), the y-axis representing

the change in time (increasing upward), and the color

intensity representing the amplitude or phase (depending

on the value of the keyword ``mode'') of the visibility.

The current antenna that constitute the baseline are

labeled at the bottom of the plot (if room permits).

In addition, if room permits, a color wedge is displayed

to the right side of the visibility data and is the sum

of the data over all displayed channels.  Also, a wedge

of the sum of the data over all displayed times will

appear above (or below) the data as room permits.

The user may edit the data in one of two ways: 1) By

entering commands at the keyboard; or 2) by selecting

commands from the listed menu items.  Which method is

determined by the presence of a menu program (such as

``XPANEL'' for the Sun systems).

If no menu program is currently active, then a message

is issued to the user and all commands are prompted from

the keyboard.  Commands are entered followed by a carriage

return (<CR>).  Single letter abbreviations are used for

all commands.  The current command list, each corresponding

abbreviation, and a brief description of each command is

available by entering a question mark (``?'') as a command.

Commands requiring further interaction (eg. ``select'' and

``value'') will prompt the user when they are invoked.

If a menu program is active, then TVCLIP will attempt

to construct an assortment of menu buttons and other

items that will perform the equivalent of entering commands

at the keyboard.  Certain commands (eg. ``select'' and

``value'') require further cursor input and will prompt

the user for a particular action (for example: ``select''

will request the user to select the region to box for

further flagging commands).

The current technique of editing is to load the baseline

to be edited, zoom and pan to the desired location, and

then, select the region to be edited followed by an

editing command.  To identify a region to edit, chose

the ``select'' command (or ``channel'' or ``time'' select

options) and then use the cursor to box the desired points.

To select a desired region, move the cursor (mouse) to a

corner of the region to select; identify, to the program,

the corner (usually by pushing and holding the left mouse

button); move the pointer to the other corner (by dragging

the mouse), and then identify, again to the program, the

other corner (usually by releasing the left mouse button).

After the region to edit has been identified, the selected

region may be flagged as good or bad using the appropriate

editting command (or button).  If data is flagged improperly,

the ``undo'' command will reverse the last editing operation.

NOTE:  If the device does not support this type of ``rubber-

band'' selection (Eg. XMTV does; MXAS does not), then the

user will be asked to use the cursor to identify two opposite

corners to delimit the selected region.

To save the editing done to a particular baseline, use

the ``exit'' command (or select the ``exit'' button).

The flagging changes will be immediately applied to the

data.  To NOT save the changes made to a particular

baseline, use the ``quit'' command (or button).  After

a ``quit'' or ``exit'' operation, the data for the next

baseline is loaded onto the display and the user may continue

editing.  Selecting the ``abort'' command (button) at any

time will perform the same operation as ``quit'', but

will also terminate the program.

You can use the 'batch-mode' of tvclip if you have a lot of

similar flagging to do. Use tvclip in interactive mode to

determine a good clip level and a sequence of DIFF and CLIP

commands that is appropriate for your data. Then set the

clip level and enter the commands in the 'commands' keyword.

You can then either watch the automatic flagging on the tv,

or switch off the display (options=notv) to speed things up.

%A vis

The name of the input UV data set.  A visibility file name

must be supplied.  Only one file may be edited at a time.

%A server

This is used to specify the TV display device. It is giving in the

form:

type@server

or

type@device

The first form causes a connection to be made with a network

display server, whereas the second form uses local hardware

directly. For the network servers, the server process may have

to be started before invoking the Miriad task -- see below.

Currently supported types are:

xmtv          Miriad X server. `server' is the servers hostname.

(use "localhost" if you are not networked)

Normally the xmtv server will be the same host as

the X server. The user will normally invoke the xmtv

server before running any Miriad TV tasks, with

% xmtv

If the X server and xmtv server are on different

hosts, you may need to set the DISPLAY environment

variable on the xmtv server, and use xhost on the

X server.

ivas          IVAS (VMS only). `device' is the VMS device name.

You will require an IIS IVAS for this.

ivserver      IVAS server. `server' is the servers hostname.

Servers are currently installed on

castor.astro.uiuc.edu and bkyast.berkeley.edu.

msss          Miriad Sun Screen server. `server' is the serving

Sun, which can be any Sun with a console. The user

will normally invoke the server before running

any Miriad TV tasks, with

% msss

mxas          Miriad X server. `server' is the servers hostname.

This is an inferior server to xmtv.

%A tvchan

An integer specifying which TV channel the data is

displayed.  The default is channel 1.

%A range

The minimum and maximum range used in scaling the data

on the TV.  Default is to autoscale to the first image.

If this keyword is used, TWO parameters must be input.

%A tvcorn

The integer device coordinate of the lower left corner

of the image.  The default is to center the image on the

display.  If this keyword is used and only the x coordinate

value is input, the y coordinate value is set to the x value.

%A line

The ``line'' parameter determines the channels that are to be processed

from a uv data-set. The parameter value consists of a string

followed by up to four numbers. Defaults are used for any missing

trailing portion of the parameter value.

A uv data-set can have correlations from either (or both) a spectral

or a wideband (continuum) correlator. Both the spectral and wideband

correlators produce multiple correlations (channels). The string

part of the line parameter is used to select the spectral or wideband

channels. It may be one of:

"channel"   Spectral channels.

"wide"      Wideband (continuum) channels.

"velocity"  Spectral channels, resampled at equal increments in

velocity (using the radio definition). The resampling

involves a weighted average of the spectral channels.

This is useful if the source was not Doppler tracked

correctly.

"felocity"  Similar to "velocity", except that the parameters are

given using the optical velocity definition.

Generally the default is "channel" if the data-set has spectral

channel data, and "wide" otherwise.

The four numbers that accompany the string give:

nchan, start, width, step

These four numbers specify which channels to select from the input

dataset and how to combine them to produce the output channels that

the Miriad task will work on.

nchan   is the number of output channels produced. Generally it

defaults to the number of input channels.

start   is the first channel from input dataset that is to be used.

It defaults to 1 (i.e. first channel).

width   gives the number of input channels to average together to

produce a single output channel. It defaults to 1.

step    gives the increment between selected input channels. It

defaults to the value of "width".

For "velocity" linetype, the start, width and step parameters are

given in km/s. The output channels are centered on velocities:

start, start+step, start+2*step, etc.

The `line' parameter interacts with the "select=window" selection

for "channel" and "velocity"/"felocity" linetypes. See the help on

select for more information.

For example:

line=channel,10

selects 10 output channels, being input spectral channels 1 to 10.

Similarly

line=channel,10,8,1,2

selects 10 output channels, starting at input channel 8, and skipping

every second input channel, whereas

line=channel,10,8,2,2

selects 10 output channels, again starting at input channel 8, but

each of the output channels consists of the average of two of the

input channels. Finally

line=velocity,10,-10,1,1

resamples the spectral data in velocity, to give 10 channels of width

1 km/s. The channels are centered at -10.0,-9.0,-8.0, etc, km/s.

NOTE: Here ``type'' must be `channel' or ``wide'' and the maximum

of  both ``width'' and ``step'' must be 1.  The default is

to display all channels.

%A mode

Display ``amplitude'', ``phase'', ``real'', ``imaginary''.

By default, ``amplitude'' is selected. For mode=phase, the

phase is in degrees.

%A taver

The length of time (in minutes) used to average the data when

determining the running mean. This is used with the "DIFF"

command, where the running mean of the data are subtraced off.

Two values can be given for taver, being TTOT and TGAP

respectively. If the time interval between any

two successive data points is greater than TGAP, or if the

total time between the first data point in an average

and any succeeding data point exceeds TTOT, then a new

average is started.  The default for TTOT is 5 minutes, whereas

the default TGAP is the value of TTOT.

%A clip

The clip level (in average absolute deviations, a parameter

similar to rms, but less sensitive to outliers)

This is used with the "CLIP" command. All data more than clip

times the av. abs. dev. from the median will be clipped.

This clip operation is repeated until no more points are clipped.

Common values are 4,5,6. Flagging on stokes V data with clip=4

usually gets rid of most interference. The default is 5.

%A options

Extra processing options. Several are possible:

'nochannel', 'notime' and 'nopixel' are clip options.

By default the "CLIP" command will flag channels, times

and individual pixels with an rms that is too far from

the median.  These options allow you to exclude some

forms of clipping.

'notv'  display option, do not show anything on the tv.

Speeds up non-interactive clipping.  This can only be

used if you also fill in the commands keyword.  Because

with 'notv' the data does not have to fit on the screen,

less time averaging is needed.  Usually the data will be

flagged at full time resolution.

'nosrc' Do not cause a break in the display when the source

changes. Normally TVFLAG puts a gap in the display

whenever the source changes.

%A commands

This allows non-interactive flagging using the "CLIP" command.

Use this to specify a sequence of flagging commands to be applied

for each baseline, e.g., commands=diff,clip.

The "EXIT" command is implicitly added at the end of the list.

You will not be able to interact with tvclip using mouse or

keyboard if "commands" is set.

%A select

This keyword selects the subset of the visibility data to be

processed. There are a number of subcommands, which may be

abbreviated. Each may be prefixed with a plus or minus sign to

indicate using or discarding the selected data. Many subcommands

can be given (separate them by commas).

Examples:

'select=time(03OCT30:05:42:08,03OCT30:05:43:09),ant(7)(2)'

'select=-auto,-ant(7,8)'

'select=-ant(7,8),vis(1,15),vis(31,45),vis(301,1000)'

'select=-ant(7,8),-ant(1)(4,6),-ant(2)(4,5,6),-ant(3)(4,5),-ant(4)(5,6),-ant(5)(6)'

See also documentation for subroutine selprobe(), which may very well differ

slightly from this document.

Subcommands include:

time(t1,t2)

Select data between times t1 and t2 (UT). Times are in the format:

yymmmdd.fff

or

yymmmdd:hh:mm:ss.s

Various abbreviations are possible. If no date part is given, then

the time matchs all data (regardless of its date) for the given

time of day. e.g. time(03OCT30:05:41:08,03OCT30:05:43:09)

antennae(a1,a2,...)(b1,b2...)

Select all baselines pairs formed between first and second list of

antennas. The second list is optional and defaults to all antennas.

uvrange(uvmin,uvmax)

Select visibilities with uv radius between uvmin and uvmax (in kilo

wavelenghts). If only one value is given, uvmin is taken as zero.

uvnrange(uvmin,uvmax)

Select visibilities with uv radius between uvmin and uvmax (in

nanoseconds). If only one value is given, uvmin is taken as zero.

visibility(n1,n2)

Select visibilities numbered n1 to n2 inclusive.

increment(inc)

Select every inc'th visibility.

ra(r1,r2)

Select visibilities whose RA is in the range r1 to r2. RAs are given

in the format

hh:mm:ss

or

hh.hhh

Various abbreviations are possible.

dec(d1,d2)

Select visibilites whose DEC is in the range d1 to d2. Declinations

are given in the format

dd:mm:ss

or

dd.ddd

Various abbreviations are possible.

ha(h1,h2)

Selects on hour angle (values in decimal hours or hh:mm:ss)

lst(lst1,lst2)

Selects on LST (values in decimal hours or hh:mm:ss)

elevation(el1,el2)

Selects on elevation (values in degrees)

dra(p1,p2)

Select visibilities for which the RA of the pointing center is offset

from the main pointing center by between p1 and p2 arcseconds.

ddec(p1,p2)

Select visibilities for which the DEC of the pointing center is offset

from the main pointing center by between p1 and p2 arcseconds.

dazim(p1,p2)

Select visibilities for which the DAZIM offset is between p1 and p2 arcseconds.

delev(p1,p2)

Select visibilities for which the DELEV offset is between p1 and p2 arcseconds.

pointing(p1,p2)

Select visibilities with the rms pointing error in the range p1 to p2

arcseconds. If only one number is given, p1 is taken as 0.

polarization(p1,p2,p3,...)

Select visibilities on the basis of their polarization/Stokes parameter.

p1,p2,p3,... can be selected from "i,q,u,v,xx,yy,xy,yx,rr,ll,rl,lr"

Conversion between polarizations Stokes parameters (e.g. convert

linears to Stokes)  is not performed by this mechanism (see keyword stokes).

source(SRCNAM1,SRCNAM2,...)

Select correlations from the particular source. Several sources

can be given. An asterisk in the source name is treated as a

wildcard. Note that the sourcename match is done IGNORING CASE.

purpose(TYPE)

Select based on the intent/purpose of the observation. Introduced in

CARMA, where the letters B (bandpass), F (fluxcal), G (gaincal),

P (polarization), R (radio pointing), S (science) and O (other)

are used.

Multiple letters from this set can be chooses. No wildcards allowed.

seeing(r1,r2)

Select on seeing monitor rms path length (in microns). The UV variable used

is smonrms for ATCA, rmspath for CARMA

frequency(f1,f2)

Select correlations, where the sky frequency of the first correlation

is in the range f1 to f2 (in GHz). If only a single frequency is

given, then correlations are selected if the first correlation

is within 1% of the given frequency.  Note this selects the whole

record.  This may include several spectral-windows whose frequency

is quite different from the first correlation in the first window.

amplitude(amplo,amphi)

Select any correlation, where the amplitude is between "amplo" and

"amphi". If only one value is given, then "amphi" is assumed to be

infinite.

shadow(d)

Selects data that would be shadowed by an antenna of diameter "d" meters.

If "d" is zero, then the actual diameter of the antennas (if known) is used.

If some data is shadowed, it is advisable to use an antenna diameter value

greater than the physical antenna size (e.g. 20% larger).

See also the task CSFLAG for more finegrained approach for heterogeneous

arrays and dealing with sub arrays.

bin(b1,b2)

Select visibilities which have pulsar bin numbers in the range

b1 to b2 inclusive. If b2 is omitted, just pulsar bin b1 is

selected.

on(n)

This is used with single dish observations, anbd selects based

whether the "on" variable in the data is on (1) or off (0).

auto

This is used with files that contain a mix of autocorrelations and

crosscorrelations. This selects just the autocorrelation data.

window(w1,w2,...)

Select by spectral window (IF band in AIPS terminology). See

the help on window for more information.

or

The list of subcommands before and after the 'or' are "ored"

together.

and

Default ???

NOTE: The default is to use all visibilities.