%N imdiff

%D Shift and expand an image to make it match another.

%P rjs

%: image-analysis

%B

IMDIFF is a MIRIAD task which finds optimum parameters (in a

maximum likelihood sense) for making one image approximate

another image.  The parameters are an amplitude scale factor, dc

offset, shifts in x and y direction and an expansion.

Alternately any of these parameters can be fixed at a given

value, and the others allowed to vary.  This task assumes that

the rms noise levels in both images are identical (If this is

not the case then one of the images should be scaled to make it

the case).  Also noise in the two images is assumed to be

uncorrelated.  If either of these conditions are violated, the

algorithm will not perform optimally when the signal to noise

ratio is poor.

This task is intended to find only small shifts and expansions.

It will probably fail if large shifts and expansions are

present.  The task SHIFTY can handle large, integral, shifts.

This task currently only handles a rectangular region of

interest.  It does not handle blanked pixels correctly.

%A in1

The first input image. This is considered to be the "reference"

image. No default.

%A in2

The second input image.  This is considered to be the image that

must be adjusted to make it look like IN1.  No default.

%A adjust

This gives the name of an output image data-set, being a version

of second image after adjustment.  The default is not to output

an adjusted image.

%A resid

An output image consisting of the difference between IN1 and the

adjusted form of IN2.  It is generally best to look at the

residuals, to check that they are noise-like.  The residuals are

defined as:

Resid(x,y) = In1(x,y)

- Amp*In2(Expand*x+Xshift, Expand*y+YShift)

- Offset

(Here X and Y are relative to IN2's reference pixel).

The default is not to create the residuals.

%A region

The region of interest. Currently this must be a rectangular

region. The default is the entire image.

%A guard

The task cannot work right to the edge of the image, because the

shifts and expansions might mean that there is no corresponding

point between images near the image edges.  Consequently a guard

band is needed.  GUARD gives the width of this band, in pixels.

In the output residuals, this band will be set to zero.

Default is 10.

The following five parameters give the initial estimates for the

various parameters that IMDIFF is trying to find.  If the

parameters are fixed, then IMDIFF will not change them from

their initial settings.

%A xshift

This gives the initial value, in pixels, of the x-shift.

This should be only +/- a few pixels. Default is 0.

%A yshift

This gives the initial value, in pixels, of the y-shift.

Default is 0.

%A expand

This gives the initial expansion.  Only small expansions can be

handled (e.g. approximately in the range 0.95 to 1.05).  This

should be adequate for proper motion studies.  Give two values

if you are allowing the x- and y-expansions to vary

independently, one value otherwise.  Default is 1.

%A amp

This gives the initial amplitude scale factor. Default is 1.

%A offset

This gives the initial dc offset to apply to IN2. The default

is 0.

%A options

Task enrichment options.  Minimum match is active.  These

determine what to solve for.  Possible values are:

noamplitude Do not adjust the amplitude of the second image.

The default is to adjust the amplitude.

nooffset    Do not adjust the offset of the second image.

The default is to adjust the offset.

noxshift    Do not shift the second image in x.

The default is to optimise the shift in x.

noyshift    Do not shift the second image in y.

The default is to optimise the shift in y.

noexpand    Do not apply an expansion factor to the second

image.  The default is to apply an expansion

factor in y.

expand      Expand the x and y axes independently.  The

default is that the expansions for the two axes

are the same.