%N uvgen

%D Compute visibilities for a model source.

%P rjs

%: uv analysis, map making

%B

UVGEN is a MIRIAD task which computes visibility data for a model

source distribution at u-v data points specified by a set of

antenna positions, hour angle range and sample interval. The model

is specified by a set of Gaussian sources with given positions and

flux densities. Analytic expressions are used to calculate the

value of the visibilities. The calculation includes the response to

polarized sources with linear and circularly polarized feeds. U-V

trajectories for all pairs of antennas are computed.

%A source

The name of a text file containing the source components, one

component per line. There is no default.  The source components

are elliptical Gaussian components. Each line consists of at least

three and up to nine values:

flux,dra,ddec,bmaj,bmin,bpa,iflux,ipa,vflux

where

flux:          Total flux in Jy.

dra,ddec:      Position offset from the phase center in arcsec.

bmaj,bmin,bpa: The full width to half maximum of the major and

minor axes, and the position angle of the major

axis measured from north to the east. The default

half width is 0."0001.

iflux,ipa:     The sources can be partially linearly polarized.

This information is given as a percentage

polarization and position angle. The default is 0.

vflux:         Percentage circular polarization. The default is 0.

The text file is free-format, with commas or blanks used to separate

the values. Comments (starting with #) can be included in the file.

%A ant

The name of a text file containing the position of the antennas.

There is no default. Each line of the text file gives three values,

being the x, y and z location of an antenna.

The antenna positions can be given in either a right handed

equatorial system or as a local ground based coordinates measured to the

north, east and in elevation. See the "baseunit" parameter to

specify the coordinate system. Some standard antenna configurations

can be found in $MIRCAT/*.ant for ATCA, BIMA and VLA telescopes.

The BIMA and VLA antenna tables, use with baseunit=1, whereas for

the ATCA, use baseunit=-51.0204.

The text file is free-format, with commas or blanks used to separate

the values. Comments (starting with #) can be included in the file.

%A baseunit

This specifies the coordinate system used in the antenna file.

A positive value for "baseunit" indicates an equatorial system,

whereas a negative value indicates a local system. The magnitude of

"baseunit" gives the conversion factor between the baseline units

used in the antenna file, and nanoseconds. The default value is +1,

which means that the antenna file gives the antenna position in an

equatorial system measured in nanoseconds.

E.g.    baseunit=-1 for topocentric coordinates in nanosecs,

baseunit=-3.335668 for topocentric coordinates in meters,

baseunit=3.335668 for geocentric coordinates in meters.

%A telescop

This parameter determine the feed angle variation (i.e. the parallactic

angle plus the feed offset angle - evector). It is also

used to set the name of the telescop variable in the output dataset.

If can take two values, the first gives the antenna mount type, and

can be "altaz" or "equatorial". The second value gives the feed

offset angle ("evector") in degrees. The default is 0.

Alternatively, you can give the name of a known telescope for this

parameter. In this case, the mount type and feed offset angle will

be that of that particular telescope.

The default value is "hatcreek" (which is equivalent to "altaz,0").

%A corr

Defines the correlator setup. The values are:

nchan:       Number of channels in each spectral window. Use 0

for a wideband only file.

nspect:      Number of spectral windows. Default 1; maximum 4.

f1,f2,...:   "nspect" values giving the offset for the center

frequency of each window, in MHz. Default 0.

df1,df2,...: "nspect" values giving the total widths of each

spectral window, in MHz. Default 1000.

No checking is made for valid combinations.

Default is wideband only for each spectral window.

%A spectra

Model a Gaussian spectral line.

The spectral line model line consists of three values:

famp:        The line to continuum ratio

fcen:        Line freq (GHz)

fwid:        Line width (GHz).

Default is no spectral line.

%A time

The time of the observation (this corresponds to ha=0). This is in

the form

yymmmdd.ddd

or

yymmmdd:hh:mm:ss.s

The default is 80JAN01.0. A function of this is also used

as a seed for the random number generator.

With the unix date command you can use

date +%y%b%d:%H:%M:%S | tr '[A-Z]' '[a-z]'

A note on the definition of time in a miriad dataset (which

is integration centered):   this program computes them

instantaneous, and could therefor be argued to be off by

inttime/2 (as old BIMA data was).

%A freq

Frequency and IF frequency in GHz.

Defaults are 100,0.0 GHz.

%A radec

Source right ascension and declination. These can be given in

hh:mm:ss,dd:mm:ss format, or as decimal hours and decimal

degrees. The default is 0,30.

%A harange

Hour Angle range (start,stop,step) in hours. Default is

-6 hrs to + 6 hrs, with a sample interval=0.1 (6 minute)

There is a time slip option in the code available to make

hour angles into true time hours, but by default this

keyword honors earth rotation.

%A ellim

Elevation limit in degrees. The default is not to limit

uv coverage by elevation. If set, then hour angles below the

limit are not "observed".

%A stokes

This selects the polarization parameters formed. Up to 4

polarizations can be formed in one run . They can be 'i' (default),

'xx', 'yy', 'xy', 'yx, 'lr', 'rl', 'rr' or 'll'. For example:

stokes=xx,yy,xy,yx

will form a file with the 4 polarisations corresponding to an array

with linear feeds.

For linear feeds the convention is that the X feed has a position

angle of 0, and the Y feed is 90 (measured north towards east).

%A polar

Polarization patterns for generating time shared polarization data.

Up to MAXPOLAR=20 strings of the characters R and L, or X and Y,

to represent the polarization of each antenna

R(right circular polarization), L(left circular polarization)

X(linear polarization PA=0), Y(linear polarization PA=90).

E.g. for 3 antennas, the polar=LLL,LRR,RRL,RLR cycles

through all combinations of LCP and RCP for each baseline every

4 integrations. The default is to use the stokes keyword.

%A leakage

Polarization leakage errors, given as a percent. This gives the

rms value of leakages of one polarisation feed into another.

Polarization leakage errors are constant over the observation.

To use this, you must set

stokes=xx,yy,xy,yx

or

stokes=rr,ll,rl,lr

The default is 0 (i.e. no polarization leakage).

%A zeeman

Zeeman effect; the keyword gives the product B * Z, where,

Stokes V = B * Z * dI/dnu + Leakage * I

B = line of sight field, and Z = Zeeman splitting term.

This generates a circular polarization for a spectral line.

Default = 0.

%A lat

Latitude of observatory. This can be given in

m:ss,dd:mm:ss format, e.g lat=40:49:02.50, or as decimal

ees. The default is 40 degrees.

%A cycle

This gives two values, being the time on-source, and the time

off-source cycle times, both in hours. This allows simulation of

time segments lost while observing calibrators, etc. For example,

if simulating an observation which observes the source for 24 minutes

and then is off-source (observing a calibrator) for 6 minutes, use:

cycle=0.4,0.1

Similarly, if simulating this calibrator, use:

cycle=0.1,0.4

The default is harange(3),0 (i.e. do not interrupt the observations).

%A pbfwhm

This dictates the primary beam model used in the simulation. It gives

the FWHM of a gaussian primary beam, in arcseconds.

The default is no primary beam attenuation.

%A center

Offset observing centers for a mosaiced observation, in arcseconds.

Two values (x and y offset) are required per pointing. Several

values can be given. Default is 0,0 (i.e. a plain, single pointing

observation). The time spent on each pointing is given by the value of

``cycle(1)''. Note that the default value of cycle(1) means that the

observing center changes every integration.

%A gnoise

Antenna based gain noise, given as a percentage. This gives the

multiplicative gain variations, specified by the rms amplitude to be

added to the gain of each antenna at each sample interval. The

gain error stays constant over the period given by the ``cycle(1)''

parameter (see above). Thus ``cycle(1)'' can be varied to give

different atmosphere/instrument stabilities. Note that the default

of the ``cycle'' parameter means that the gain changes every

integration.

A gain error can also be used to mimic random pointing errors

provided the source is a point source.

The default is 0 (i.e. no gain error).

%A pnoise

Antenna based phase noise, in degrees. This gives the phase

noise, specified by the rms phase noise to be added to each

antenna. Up to 4 values can be given to compute the phase noise

pnoise(1) + pnoise(2)*(baseline)**pnoise(3)*sinel**pnoise(4)

where ``baseline'' is baseline length in 100m units. Typical values

for pnoise(2) are 1mm rms pathlength (e.g. 2 radians at 100 GHz),

For Kolmogorov turbulence pnoise(3)=5/6 for baseline < 100m

and 0.33 for baseline > 100m (outer scale of turbulence).

pnoise(4)=-0.5 for a thick turbulent screen, and -1 for a thin layer.

See also the ``gnoise'' parameter. Default is 0,0,0,0 (i.e.

no phase error).

%A systemp

System temperature used to compute additive random noise and

total power. One or 3 values can be given; either the average

single sideband systemp including the atmosphere (TELEPAR gives

typical values), or the double sideband receiver temperature,

sky temperature, and zenith opacity, when systemp is computed as:

systemp = 2.*(Trx + Tsky*(1-exp(-tau/sinel)))*exp(tau/sinel)

where systemp, Trx and Tsky are in Kelvin. Typical values for Hat Ck

Trx, Tsky, and tau are 75,290,0.15. (OBSTAU gives values for tau).

systemp is used to generate random Gaussian noise to add to each

data point. Default is 0,0,0 (i.e. no additive noise).

%A tpower

Two values can be given to represent the total power variations

due to receiver instability (Trms), and atmospheric noise (Tatm).

tpower = Trms * systemp +  Tatm * pnoise

The receiver instablity is modeled as multiplicative Gaussian noise.

The atmospheric noise is modeled to be correlated with the antenna

phase noise. Typical values at 3 millimeter wavelength

are Trms=10-3 and Tatm=0.2 K/radian (280 degrees/K).

Default is tpower=0,0

%A jyperk

The system sensitivity, in Jy/K. Its value is given by 2*k/(eta * A)

where k is Boltzmans constant (1.38e3 Jy m**2 / K), A is the physical

area of each antenna (pi/4 * D**2), and eta is an efficiency.

For the ATCA, D is 22 meters, and eta is composed of a correlator

efficiency (0.88) and an antenna efficiency (0.65 at 6 cm). The

overall result is jyperk=12.7. The default jyperk=150, a typical

value for the Hat Creek 6.1 m antennas.

%A out

This gives the name of the output Miriad data file. There is

no default. If the dataset exists, visibilities are appended to

the dataset, with an appropriate informational message.

%A options

slip    slip time, such that hour angles become clock hours, ignoring

earths rotation. For short observations this is ok especially

if you want "nicer" times for your timestamps.

real    store correlations as reals, instead of scaled integers

by default the threshold is (or was) 4 channels, above which

correlations are stored as scaled integers

complex store correlations as complex. Although allowed as an option

here, most miriad programs do not support this mode yet.